## PowerParkModules
Settlement BMU name | Generator Name | Full Name | Registered Capacity | Date Added | BM Unit or Large Power Station? | BMU or Large Reg Cap only
T_ABRBO-1 | ABRBO-1 | Aberdeen Bay | 99 | 2017-09-30 | BMU | 95
E_ABRTW-1 | ABRTW-1 | Auchrobert | 36 | 2016-09-08 | BMU | 34
C__PSMAR001 | ACHLW-1 | Achlachan | 10 | 2018-09-07 | BMU | 10.25
T_ACHRW-1 | ACHRW-1 | A-Chruach | 43 | 2015-10-06 | BMU | 42
NA | ACHYW-1 | Achany | 50 | 2009-05-14 | LPS | 38
T_AFTOW-1 | AFTOW-1 | Afton | 50 | 2017-09-13 | BMU | 47
E_AIRSW-1 | AIRSW-1 | Airies | 38 | 2016-06-21 | BMU | 35
NA | AKGLW-1 | Aikengall 1 | 48 | 2008-11-01 | LPS | 46
T_AKGLW-2 | AKGLW-2 | Aikengall 2 | 63 | 2021-07-21 | BMU | 59
T_AKGLW-3 | AKGLW-3 | Aikengall 3 | 81 | 2021-07-21 | BMU | 81
T_ANSUW-1 | ANSUW-1 | An Suidhe | 19 | 2010-08-04 | BMU | 17
T_ARCHW-1 | ARCHW-1 | Arecleoch | 120 | 2010-11-19 | BMU | 104
E_ASHWW-1 | ASHWW-1 | Andershaw | 35 | 2016-06-22 | BMU | 36
E_ASLVW-1 | ASLVW-1 | Assel Valley | 25 | 2016-06-21 | BMU | 25
E_BABAW-1 | BABAW-1 | Baillie | 52 | 2012-12-20 | BMU | 52
T_BDCHW-1 | BDCHW-1 | Bad A Cheo | 27 | 2018-06-28 | BMU | 27
T_BEATO-1 | BEATO-1 | Beatrice 1 | 126 | 2018-02-28 | BMU | 118
T_BEATO-2 | BEATO-2 | Beatrice 2 | 126 | 2018-02-28 | BMU | 126
T_BEATO-3 | BEATO-3 | Beatrice 3 | 168 | 2018-02-28 | BMU | 168
T_BEATO-4 | BEATO-4 | Beatrice 4 | 168 | 2018-02-28 | BMU | 168
T_BEINW-1 | BEINW-1 | Beinneun | 109 | 2016-12-01 | BMU | 108.8
E_BETHW-1 | BETHW-1 | Beinn Tharsuinn | 30 | 2005-12-01 | BMU | 30
NA | BGLAW-1 | Beinn Ghlas | 8 | 1999-05-01 | LPS | 9
T_BHLAW-1 | BHLAW-1 | Bhlaraidh | 108 | 2017-01-31 | BMU | 108
E_BLARW-1 | BLARW-1 | Blary Hill | 35 | 2021-09-08 | BMU | 35
T_BLKWW-1 | BLKWW-1 | Blackcraig | 53 | 2017-08-26 | BMU | 54
T_BLLA-1 | BLLA-1 | Black Law | 134 | 2005-03-01 | BMU | 124
T_BLLA-2 | BLLA-2 | Black Law Ext 1 | 69 | 2015-10-06 | BMU | 55
NA | BNAKW-1 | Ben Aketil | 28 | 2010-10-01 | LPS | 28
E_BNWKW-1 | BNWKW-1 | Burn of Whilk | 22 | 2015-02-27 | BMU | 23
NA | BOULW-1 | Boulfruich | 14 | 2005-08-01 | LPS | 12.8
T_BOWLW-1 | BOWLW-1 | Barrow | 90 | 2006-01-01 | BMU | 90
NA | BOYNW-1 | Boyndie Airfield | 22 | 2006-02-01 | LPS | 17
T_BRBEO-1 | BRBEO-1 | Burbo Bank Ext | 254 | 2016-11-05 | BMU | 254
E_BRDUW-1 | BRDUW-1 | Braes of Doune | 74 | 2006-09-01 | BMU | 72
E_BRNLW-1 | BRNLW-1 | Brownieleys | 7 | 2016-12-01 | BMU | 7.05
T_BROCW-1 | BROCW-1 | Broken Cross | 48 | 2023-12-28 | BMU | 0
E_BRYBW-1 | BRYBW-1 | Berry Burn | 66 | 2013-11-11 | BMU | 88
NA | BTUIW-1 | Beinn an Tuirc | 15 | 2001-09-01 | LPS | 29.7
E_BTUIW-2 | BTUIW-2 | Beinn an Tuirc Ext | 43 | 2012-07-05 | BMU | 43.7
E_BTUIW-3 | BTUIW-3 | Beinn an Tuirc Phase 3 | 50 | 2020-12-04 | BMU | 45
E_BURBO | BURBW-1 | Burbo Bank | 90 | 2007-07-01 | BMU | 86
2__PSTAT001 | CAIRW-2 | Cairn Uish 2 (Rothes 2) | 42 | 2013-04-01 | BMU | 44
NA | CAUSW-1 | Causeymire | 48 | 2004-04-01 | LPS | 48.3
NA | CDWTW-1 | Calder Water | 32 | 2013-09-30 | LPS | 39
T_CGTHW-1 | CGTHW-1 | Corriegarth | 69 | 2016-06-21 | BMU | 69
T_CLDCW-1 | CLDCW-1 | Clyde Central | 196 | 2011-03-01 | BMU | 196
T_CLDNW-1 | CLDNW-1 | Clyde North | 198 | 2011-03-01 | BMU | 198
E_CLDRW-1 | CLDRW-1 | Clashindarroch | 37 | 2014-10-31 | BMU | 37
T_CLDSW-1 | CLDSW-1 | Clyde South | 128 | 2011-03-01 | BMU | 126
E_CLFLW-1 | CLFLW-1 | Clachan Flats | 15 | 2008-12-01 | BMU | 7
2_PPGEN003 | CMSTW-1 | Camster | 50 | 2013-02-09 | BMU | 50
E_CNCLW-1 | CNCLW-1 | Coire Na Cloiche | 30 | 2018-08-24 | BMU | 30
T_COUWW-1 | COUWW-1 | Cour | 21 | 2016-08-05 | BMU | 20.5
NA | CRAGW-1 | Craigengelt | 20 | 2010-03-01 | LPS | 20
T_CRDEW-1 | CRDEW-1 | Crossdykes | 23 | 2021-02-01 | BMU | 23
T_CRDEW-2 | CRDEW-2 | Crossdykes 2 | 23 | 2021-02-01 | BMU | 23
T_CREAW-1 | CREAW-1 | Creag Riabhach | 93 | 2022-11-01 | BMU | 92.4
T_CRGHW-1 | CRGHW-1 | Carraig Gheal | 46 | 2013-02-06 | BMU | 46
E_CRGTW-1 | CRGTW-1 | Craig II | 5 | 2018-05-01 | BMU | 4
NA | CRMHW-1 | Cruach Mhor | 30 | 2003-12-01 | LPS | 30
T_CRMLW-1 | CRMLW-1 | Corriemoillie | 47 | 2016-06-25 | BMU | 47.5
NA | CRMNW-1 | Corrimony | 12 | 2016-01-06 | LPS | 12
NA | CRYRW-1 | Crystal Rig 1 | 63 | 2003-11-01 | LPS | 50
T_CRYRW-2 | CRYRW-2 | Crystal Rig 2 | 200 | 2009-12-16 | BMU | 149
T_CRYRW-3 | CRYRW-3 | Crystal Rig 3 | 14 | 2016-06-28 | BMU | 13.8
T_CUMHW-1 | CUMHW-1 | Cumberhead (Revised) | 40 | 2023-03-31 | BMU | 50
T_DALQW-1 | DALQW-1 | Dalquhandy | 42 | 2022-06-20 | BMU | 42
E_DALSW-1 | DALSW-1 | Dalswinton | 30 | 2008-05-01 | BMU | 31
T_DBAWO-1 | DBAWO-1 | Dogger Bank A1 | 302 | 2023-09-21 | BMU | 0
T_DBAWO-2 | DBAWO-2 | Dogger Bank A2 | 304 | 2024-01-28 | BMU | 0
T_DBAWO-3 | DBAWO-3 | Dogger Bank A3 | 303 | 2024-01-28 | BMU | 0
T_DBAWO-4 | DBAWO-4 | Dogger Bank A4 | 153 | 2024-01-28 | BMU | 0
T_DBAWO-5 | DBAWO-5 | Dogger Bank A5 | 138 | 2024-01-28 | BMU | 0
T_DDGNO-1 | DDGNO-1 | Dudgeon 1 | 108 | 2016-06-24 | BMU | 101
T_DDGNO-2 | DDGNO-2 | Dudgeon 2 | 90 | 2016-06-24 | BMU | 83
T_DDGNO-3 | DDGNO-3 | Dudgeon 3 | 102 | 2016-06-24 | BMU | 107
T_DDGNO-4 | DDGNO-4 | Dudgeon 4 | 102 | 2016-06-24 | BMU | 102
NA | DEUCW-1 | Deucheran Hill | 16 | 2001-12-01 | LPS | 16
T_DNLWW-1 | DNLWW-1 | Dun Law | 30 | 2009-10-01 | BMU | 30
T_DOREW-1 | DOREW-1 | Dorenell 1 | 114 | 2018-05-01 | BMU | 90
T_DOREW-2 | DOREW-2 | Dorenell 2 | 114 | 2018-05-01 | BMU | 80
T_DOUGW-1 | DOUGW-1 | Douglas West | 45 | 2021-04-30 | BMU | 45
NA | DRDGW-1 | Drumderg | 32 | 2008-10-01 | LPS | 36.8
T_DRSLW-1 | DRSLW-1 | Dersalloch | 69 | 2016-05-17 | BMU | 69
NA | DUMMW-1 | Dummuies | 12 | 2007-04-01 | LPS | 12.3
T_DUNGW-1 | DUNGW-1 | Dunmaglass | 94 | 2016-06-21 | BMU | 94
T_EAAO-1 | EAAO-1 | East Anglia One | 340 | 2019-03-13 | BMU | 347
T_EAAO-2 | EAAO-2 | East Anglia Two | 340 | 2019-03-13 | BMU | 346
NA | EARBW-1 | Earlsburn | 35 | 2007-08-01 | LPS | 35
T_EDINW-1 | EDINW-1 | Edinbane | 42 | 2009-12-01 | BMU | 41.4
NA | EDTRW-1 | Edintore | 15 | 2016-06-03 | LPS | 15
T_EWHLW-1 | EWHLW-1 | Ewe Hill | 39 | 2016-09-28 | BMU | 36.8
T_FARR-1 | FAARW-1 | Farr 1 | 92 | 2006-05-01 | BMU | 46
T_FARR-2 | FAARW-2 | Farr 2 | 70 | 2006-05-01 | BMU | 46
T_FALGW-1 | FALGW-1 | Fallago Rig | 144 | 2013-04-01 | BMU | 144
NA | FRBRW-1 | Fairburn | 42 | 2010-02-01 | LPS | 41
T_FSDLW-1 | FSDLW-1 | Freasdail | 22 | 2016-09-28 | BMU | 22.2
NA | FUABW-1 | Fullabrook Down | 66 | 2012-01-01 | LPS | 66
T_GANW-11 | GAOFO-1 | Galloper 1 | 88 | 2017-03-22 | BMU | 88
T_GANW-22 | GAOFO-2 | Galloper 2 | 88 | 2017-03-22 | BMU | 88
T_GANW-13 | GAOFO-3 | Galloper 3 | 88 | 2017-03-22 | BMU | 88
T_GANW-24 | GAOFO-4 | Galloper 4 | 88 | 2017-03-22 | BMU | 88
E_GDSTW-1 | GDSTW-1 | Gordonstown Hill | 13 | 2013-04-01 | BMU | 13
E_GFLDW-1 | GFLDW-1 | Goole Fileds | 32 | 2012-05-11 | BMU | 32
E_GLCHW-1 | GLCHW-1 | Glenchamber | 25 | 2016-05-17 | BMU | 25
T_GLNKW-1 | GLNKW-1 | Glen Kyllachy | 50 | 2021-03-20 | BMU | 50
E_GLOFW-1 | GLOFW-1 | Glens of Foudland | 26 | 2005-04-01 | BMU | 26
T_GLWSW-1 | GLWSW-1 | Galawhistle | 56 | 2016-08-05 | BMU | 55
T_GNAPW-1 | GNAPW-1 | Glen App | 32 | 2016-08-10 | BMU | 22
T_GNFSW-1 | GNFSW-1 | Gunfleet Sands 1 | 100 | 2010-04-01 | BMU | 100
T_GNFSW-2 | GNFSW-2 | Gunfleet Sands 2 | 65 | 2010-04-01 | BMU | 86
T_GORDW-1 | GORDW-1 | Gordonbush | 70 | 2012-01-16 | BMU | 84
T_GORDW-2 | GORDW-2 | Gordonbush Ext | 70 | 2020-11-25 | BMU | 37
T_GRGBW-1 | GRGBW-1 | Greater Gabbard 1 | 334 | 2011-03-06 | BMU | 167
T_GRGBW-2 | GRGBW-2 | Greater Gabbard 2 | 167 | 2011-01-01 | BMU | 168
T_GRGBW-3 | GRGBW-3 | Greater Gabbard 3 | 167 | 2011-01-01 | BMU | 168
E_GRGRW-1 | GRGRW-1 | Greengairs East | 36 | 2022-04-01 | BMU | 36
T_GRIFW-1 | GRIFW-1 | Griffin 1 | 102 | 2012-02-01 | BMU | 102
T_GRIFW-2 | GRIFW-2 | Griffin 2 | 102 | 2012-02-01 | BMU | 102
NA | GRKNW-1 | Green Knowes | 27 | 2008-09-01 | LPS | 27
T_GYMR-15 | GYMRO-15 | Gwynt y Mor 15 | 148 | 2015-02-16 | BMU | 142
T_GYMR-17 | GYMRO-17 | Gwynt y Mor 17 | 148 | 2015-02-16 | BMU | 0
T_GYMR-26 | GYMRO-26 | Gwynt y Mor 26 | 148 | 2015-02-16 | BMU | 143
T_GYMR-28 | GYMRO-28 | Gwynt y Mor 28 | 148 | 2015-02-16 | BMU | 142
T_HADHW-1 | HADHW-1 | Hadyard Hill | 130 | 2006-03-01 | BMU | 119.6
T_HALSW-1 | HALSW-1 | Halsary Forest | 30 | 2020-11-25 | BMU | 26
NA | HAWFW-1 | Hagshaw Hill | 15 | 2008-10-01 | LPS | 15.6
E_HBHDW-1 | HBHDW-1 | Harburnhead | 52 | 2016-08-10 | BMU | 52
E_HLGLW-1 | HLGLW-1 | Hill of Glaschyle | 28 | 2016-08-10 | BMU | 27.6
E_HLTWW-1 | HLTWW-1 | Hill of Towie | 48 | 2012-02-01 | BMU | 48
T_HMGTO-1 | HMGTO-1 | Humber Gateway 1 | 108 | 2014-08-01 | BMU | 108
T_HMGTO-2 | HMGTO-2 | Humber Gateway 2 | 111 | 2014-08-01 | BMU | 111
T_HOWAO-1 | HOWAO-1 | Hornsea A1 | 400 | 2018-10-11 | BMU | 280
T_HOWAO-2 | HOWAO-2 | Hornsea A2 | 400 | 2018-10-11 | BMU | 399
T_HOWAO-3 | HOWAO-3 | Hornsea A3 | 400 | 2018-10-11 | BMU | 150
T_HOWBO-1 | HOWBO-1 | Hornsea B1 | 440 | 2021-01-11 | BMU | 440
T_HOWBO-2 | HOWBO-2 | Hornsea B2 | 440 | 2021-01-11 | BMU | 436
T_HOWBO-3 | HOWBO-3 | Hornsea B3 | 440 | 2022-02-16 | BMU | 440
E_HRHLW-1 | HRHLW-1 | Hare Hill Ext | 29 | 2016-07-28 | BMU | 29.75
T_HRSTW-1 | HRSTW-1 | Harestanes | 146 | 2013-11-01 | BMU | 136
E_HYWDW-1 | HYWDW-1 | Hywind | 30 | 2017-05-19 | BMU | 31
NA | INNDW-1 | Inner Dowsing | 99 | 2009-03-01 | LPS | 97.2
T_KENNW-1 | KENNW-1 | Kennoxhead Phase 1 | 60 | 2021-11-01 | BMU | 62
T_KILBW-1 | KILBW-1 | Kilbraur | 67 | 2011-09-01 | BMU | 67.5
E_KINCW-1 | KINCW-1 | Kincardine Phase 1 | 50 | 2018-05-10 | BMU | 50
NA | KLDMW-1 | Kildrummy | 18 | 2013-03-25 | LPS | 18.4
T_KLGLW-1 | KLGLW-1 | Kilgallioch (Arecleoch Phase 2) | 228 | 2016-09-18 | BMU | 210
T_KPMRW-1 | KPMRW-1 | Kype Muir | 89 | 2018-06-27 | BMU | 89
T_KTHLW-1 | KTHLW-1 | Keith Hill (Resubmission) | 4 | 2017-10-26 | BMU | 2
T_KYPEW-1 | KYPEW-1 | Kype Muir Extension | 67 | 2022-04-01 | BMU | 67
T_LARYW-1 | LARYO-1 | London Array 1 | 180 | 2013-09-18 | BMU | 156
T_LARYW-2 | LARYO-2 | London Array 2 | 180 | 2013-09-18 | BMU | 152
T_LARYW-3 | LARYO-3 | London Array 3 | 180 | 2013-09-18 | BMU | 160
T_LARYW-4 | LARYO-4 | London Array 4 | 180 | 2013-09-18 | BMU | 156
T_LCLTW-1 | LCLTW-1 | Lochluichart | 69 | 2014-01-01 | BMU | 69
NA | LGPKW-1 | Long Park | 38 | 2012-04-01 | LPS | 38
T_LNCSW-1 | LNCSO-1 | Lincs 1 | 250 | 2014-02-28 | BMU | 125
T_LNCSW-2 | LNCSO-2 | Lincs 2 | 250 | 2013-02-22 | BMU | 137
NA | LYNNW-1 | Lynn | 99 | 2008-04-01 | LPS | 99
2__PSTAT002 | MDHLW-1 | Mid Hill | 76 | 2014-01-07 | BMU | 76
T_MIDMW-1 | MIDMW-1 | Middle Muir | 51 | 2018-04-20 | BMU | 51
T_MILWW-1 | MILWW-1 | Millennium | 65 | 2011-04-01 | BMU | 65
E_MINSW-1 | MINSW-1 | Minsca | 38 | 2008-05-01 | BMU | 36.8
T_MKHLW-1 | MKHLW-1 | Mark Hill | 56 | 2010-04-01 | BMU | 53
T_MOWEO-1 | MOWEO-1 | Moray Firth Eastern 1 | 300 | 2021-02-01 | BMU | 300
T_MOWEO-2 | MOWEO-2 | Moray Firth Eastern 2 | 300 | 2021-02-01 | BMU | 190
T_MOWEO-3 | MOWEO-3 | Moray Firth Eastern 3 | 300 | 2021-02-01 | BMU | 209
E_MOYEW-1 | MOYEW-1 | Moy | 60 | 2015-10-06 | BMU | 60
T_MYGPW-1 | MYGPW-1 | Minnygap | 25 | 2016-11-16 | BMU | 26
NA | NHOYW-1 | North Hoyle | 60 | 2003-12-01 | LPS | 60
T_NNGAO-1 | NNGAO-1 | Neart Na Gaoithe | 224 | 2023-10-18 | BMU | 0
T_NNGAO-2 | NNGAO-2 | Neart Na Gaoithe | 224 | 2023-10-18 | BMU | 0
NA | NORHW-1 | North Rhins | 22 | 2010-01-01 | LPS | 22
NA | NOVAW-1 | Novar | 17 | 1997-10-01 | LPS | 15
NA | NOVAW-2 | Novar Ext | 37 | 2011-12-03 | LPS | 36.8
T_OMNDW-1 | OMNDO-1 | Ormonde | 150 | 2012-07-12 | BMU | 142
2_PPGEN002 | PAUHW-1 | Pauls Hill | 64 | 2006-04-01 | BMU | 65
T_PGBIW-1 | PGBIW-1 | Pogbie Farm | 10 | 2018-06-28 | BMU | 2
T_PNYCW-1 | PNYCW-1 | Pen-y-Cymoedd | 229 | 2014-04-02 | BMU | 228
NA | PTLDW-1 | Pentland Road | 13 | 2013-10-01 | LPS | 13.8
T_RCBKO-1 | RCBKO-1 | Race Bank 1 | 284 | 2016-05-17 | BMU | 280
T_RCBKO-2 | RCBKO-2 | Race Bank 2 | 290 | 2016-05-17 | BMU | 287
NA | RHYFW-1 | Rhyl Flats | 90 | 2009-10-01 | LPS | 87
T_RMPNO-1 | RMPNO-1 | Rampion 1 | 200 | 2017-03-09 | BMU | 200
T_RMPNO-2 | RMPNO-2 | Rampion 2 | 200 | 2017-03-09 | BMU | 200
2__PENEC001 | ROTHW-1 | Cairn Uish 1 (Rothes 1) | 50 | 2021-01-01 | BMU | 51
T_RREW-1 | RREW-1 | Robin Rigg East | 90 | 2010-04-01 | BMU | 83
T_RRWW-1 | RRWW-1 | Robin Rigg West | 90 | 2010-04-01 | BMU | 89
E_RSHLW-1 | RSHLW-1 | Rosehall | 24 | 2012-12-04 | BMU | 25
T_SAKNW-1 | SAKNW-1 | Sandy Knowe | 87 | 2022-11-23 | BMU | 86.4
NA | SANDW-1 | Sanday Spurness | 8 | 2005-01-01 | LPS | 10
T_SANQW-1 | SANQW-1 | Sanquhar | 33 | 2017-08-29 | BMU | 31
T_SGRWO-1 | SGRWO-1 | Seagreen 1 | 300 | 2022-05-08 | BMU | 200
T_SGRWO-2 | SGRWO-2 | Seagreen 2 | 80 | 2022-05-08 | BMU | 70
T_SGRWO-3 | SGRWO-3 | Seagreen 3 | 160 | 2022-05-08 | BMU | 158
T_SGRWO-4 | SGRWO-4 | Seagreen 4 | 140 | 2022-05-08 | BMU | 200
T_SGRWO-5 | SGRWO-5 | Seagreen 5 | 80 | 2022-05-08 | BMU | 75
T_SGRWO-6 | SGRWO-6 | Seagreen 6 | 380 | 2022-05-08 | BMU | 333
T_SHRSW-1 | SHRSO-1 | Sheringham Shoal 1 | 157 | 2013-07-04 | BMU | 157.5
T_SHRSW-2 | SHRSO-2 | Sheringham Shoal 2 | 157 | 2013-07-04 | BMU | 132
T_SOKYW-1 | SOKYW-1 | South Kyle | 235 | 2022-04-01 | BMU | 270
T_STLGW-1 | STLGW-1 | Stronelairg 1 | 108 | 2018-02-28 | BMU | 72
T_STLGW-2 | STLGW-2 | Stronelairg 2 | 108 | 2018-02-28 | BMU | 82
T_STLGW-3 | STLGW-3 | Stronelairg 3 | 108 | 2018-02-28 | BMU | 72
NA | STPSW-1 | Stroupster | 30 | 2015-02-05 | LPS | 30
T_STRNW-1 | STRNW-1 | Strathy North | 68 | 2015-06-18 | BMU | 67
E_SWBKW-1 | SWBKW-1 | Solwaybank | 30 | 2019-03-06 | BMU | 30
NA | TANGW-1 | Tangy | 13 | 2011-06-01 | LPS | 16
T_TDBNW-1 | TDBNW-1 | Toddleburn | 28 | 2010-06-01 | BMU | 28
T_THNTO-1 | THNTO-1 | Thanet 1 | 150 | 2014-12-18 | BMU | 146
T_THNTO-2 | THNTO-2 | Thanet 2 | 150 | 2014-12-18 | BMU | 149
T_TKNEW-1 | TKNEW-1 | Triton Knoll East | 430 | 2020-08-19 | BMU | 412
T_TKNWW-1 | TKNWW-1 | Triton Knoll West | 430 | 2020-08-19 | BMU | 412
E_TLYMW-1 | TLYMW-1 | Tullymurdoch | 15 | 2018-04-18 | BMU | 14.35
C__PSTAT011 | TMNCW-1 | Tom Nan Clach | 40 | 2019-01-04 | BMU | 39
NA | TMWLW-1 | Tormywheel | 31 | 2016-10-04 | LPS | 7
T_TRLGW-1 | TRLGW-1 | Tralorg | 19 | 2019-10-24 | BMU | 18.8
E_TULWW-1 | TULWW-1 | Tullo | 17 | 2010-09-01 | BMU | 16
E_TULWW-2 | TULWW-2 | Tullo Ext | 25 | 2014-06-01 | BMU | 25
T_TWSHW-1 | TWSHW-1 | Twentyshilling Hill | 38 | 2021-05-21 | BMU | 38
T_VKNGW-1 | VKNGW-1 | Viking 1 | 122 | 2024-01-10 | BMU | 0
T_VKNGW-2 | VKNGW-2 | Viking 2 | 122 | 2024-01-10 | BMU | 0
T_VKNGW-3 | VKNGW-3 | Viking 3 | 122 | 2024-01-10 | BMU | 0
T_VKNGW-4 | VKNGW-4 | Viking 4 | 122 | 2024-01-10 | BMU | 0
T_WDNSO-1 | WDNSO-1 | West of Duddon Sands 1 | 191 | 2015-09-05 | BMU | 192
T_WDNSO-2 | WDNSO-2 | West of Duddon Sands 2 | 191 | 2015-09-05 | BMU | 192
T_WDRGW-1 | WDRGW-1 | Windy Rig | 43 | 2020-12-01 | BMU | 43
NA | WETHW-1 | Wether Hill | 18 | 2007-05-01 | LPS | 18.2
T_WHIHW-1 | WHIHW-1 | Whiteside Hill | 27 | 2018-01-18 | BMU | 26
T_WHILW-1 | WHILW-1 | Whitelee 1 | 322 | 2009-05-01 | BMU | 293
T_WHILW-2 | WHILW-2 | Whitelee 2 | 238 | 2012-11-09 | BMU | 176
T_WISTW-2 | WISTW-2 | Brockloch Rig | 62 | 2017-02-01 | BMU | 62
T_WLNYO-2 | WLNYO-2 | Walney 2 | 183 | 2012-10-04 | BMU | 177
T_WLNYO-3 | WLNYO-3 | Walney 3 | 330 | 2016-05-17 | BMU | 330
T_WLNYO-4 | WLNYO-4 | Walney 4 | 329 | 2016-05-17 | BMU | 330
T_WLNYW-1 | WLNYW-1 | Walney 1 | 183 | 2011-03-01 | BMU | 183.6
NA | WTGRW-1 | Wathegar | 19 | 2018-09-11 | LPS | 19
T_WTMSO-1 | WTMSO-1 | Westermost Rough | 210 | 2014-03-01 | BMU | 200
|  | Total | 25583 |  | Total | 21475.2
|  |  | (see notes 1 & 2 below) |  |  | (see notes 3 & 4 below)
Notes:
1. The above list includes all windfarms that have operational metering, i.e. are "visible" to National Grid. The list represents all the windfarms included in National Grid's wind forecasts and outturns shown on the electricity summary page at: https://www.bmreports.com/bmrs/?q=generation/windforcast/out-turn
2. The above figures are the registered capacities of each windfarm that National Grid is required to publish to the market on the summary page. The current operationally available capacity for a windfarm that is still under construction and commissioning may be significantly less that its full expected registered capacity.
3. The current total operational wind capacity for the 2-14 day ahead timescale is shown as the sum of output usable figures submitted by large windfarms and windfarms that are BM units on bmreports at https://www.bmreports.com/bmrs/?q=generation/nationaloutputusable-2-14
4. A few of the windfarms in the above list are classified as "Small" or "Medium" Power Stations and these do not have to submit output usable data under section OC2 of the Grid Code, so their capacities are not included in the total output usable capacity referred to in note 3. The corresponding total registered capacity for only the large windfarms that submit output usable data is shown above in column G.”